## Sheet1
0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60 | 61 | 62 | 63 | 64 | 65 | 66 | 67 | 68 | 69 | 70 | 71 | 72 | 73 | 74 | 75 | 76 | 77 | 78 | 79 | 80 | 81 | 82 | 83 | 84 | 85 | 86 | 87 | 88 | 89 | 90 | 91 | 92 | 93
b_A1 | b_A2 | b_H | D_N2 | D_N2O | D_NO | D_O2 | F_BOD_COD | f_P | F_TSS_COD | H_N2 | H_N2O | H_NO | i_X_B | i_X_P | k_a | K_FA | K_FNA | k_h | K_I10FA | K_I10FNA | K_I3NO | K_I4NO | K_I5NO | K_I9FA | K_I9FNA | K_N2O | K_NO | K_NO2 | K_NO3 | K_OA1 | K_OA2 | K_OH | K_OH1 | K_OH2 | K_OH3 | K_OH4 | K_OH5 | K_S1 | K_S2 | K_S3 | K_S4 | K_S5 | K_X | n_g2 | n_g3 | n_g4 | n_g5 | n_h | n_Y | pH | P_N2O_air | P_N2_air | P_NO_air | Y_A1 | Y_A2 | Y_H | X_I2TSS | X_S2TSS | X_BH2TSS | X_BA2TSS | X_P2TSS | b_Ratkowsky_mu_A1 | b_Ratkowsky_mu_A2 | b_Ratkowsky_mu_H | c_Ratkowsky_mu_A1 | c_Ratkowsky_mu_A2 | c_Ratkowsky_mu_H | Temp_Ref | theta_b_A1 | theta_b_A2 | theta_b_H | theta_kla | theta_k_a | theta_k_h | Tmax_Ratkowsky_mu_A1 | Tmax_Ratkowsky_mu_A2 | Tmax_Ratkowsky_mu_H | Tmin_Ratkowsky_mu_A1 | Tmin_Ratkowsky_mu_A2 | Tmin_Ratkowsky_mu_H | K_SNH_aob1 | K_SNH_aob2 | K_SNO2_aob | K_SNO_aob | K_SO_aob1 | K_SO_aob2 | K_SO_AOBden1 | K_IO_AOBden1 | K_SO_AOBden2 | K_IO_AOBden2 | n_AOB | n_Y_AOB | K_FNA_aob | K_FA_aob
b_A1 | b_A2 | b_H | D_N2 | D_N2O | D_NO |  | F_BOD_COD | f_P | F_TSS_COD | H_N2 | H_N2O | H_NO | i_X_B | i_X_P | k_a | K_FA | K_FNA | k_h | K_I10FA | K_I10FNA | K_I3NO | K_I4NO | K_I5NO | K_I9FA | K_I9FNA | K_N2O | K_NO | K_NO2 | K_NO3 | K_OA1 | K_OA2 | K_OH | K_OH1 | K_OH2 | K_OH3 | K_OH4 | K_OH5 | K_S1 | K_S2 | K_S3 | K_S4 | K_S5 | K_X | n_g2 | n_g3 | n_g4 | n_g5 | n_h | n_Y | pH | P_N2O_air | P_N2_air | P_NO_air | Y_A1 | Y_A2 | Y_H | X_I2TSS | X_S2TSS | X_BH2TSS | X_BA2TSS | X_P2TSS | b_Ratkowsky_mu_A1 | b_Ratkowsky_mu_A2 | b_Ratkowsky_mu_H | c_Ratkowsky_mu_A1 | c_Ratkowsky_mu_A2 | c_Ratkowsky_mu_H | Temp_Ref | theta_b_A1 | theta_b_A2 | theta_b_H | theta_kla | theta_k_a | theta_k_h | Tmax_Ratkowsky_mu_A1 | Tmax_Ratkowsky_mu_A2 | Tmax_Ratkowsky_mu_H | Tmin_Ratkowsky_mu_A1 | Tmin_Ratkowsky_mu_A2 | Tmin_Ratkowsky_mu_H | K_SNH_aob1 | K_SNH_aob2 | K_SNO2_aob | K_SNO_aob | K_SO_aob1 | K_SO_aob2 | K_SO_AOBden1 | K_IO_AOBden1 | K_SO_AOBden2 | K_IO_AOBden2 | n_AOB | n_Y_AOB | K_FNA_aob | K_FA_aob

## Sheet2
>> perf_plant_bsm1 | >> perf_plant_bsm1
***** Plant evaluation of BSM1 system initiated ***** | ***** Plant evaluation of BSM1 system initiated *****
Start time for BSM1 evaluation (hour:min:sec) = 16 9 7 | Start time for BSM1 evaluation (hour:min:sec) = 17 37 27
Overall plant performance during time 6.7852 to 14.1924 days | Overall plant performance during time 6.9217 to 14.0638 days
***************************************************** | *****************************************************
Influent average concentrations based on load | Influent average concentrations based on load
--------------------------------------------- | ---------------------------------------------
Influent average flow rate = 18446 m3/d | Influent average flow rate = 18446 m3/d
Influent average SI conc = 30 g COD/m3 | Influent average SI conc = 30 g COD/m3
Influent average SS conc = 69.5 g COD/m3 | Influent average SS conc = 69.5 g COD/m3
Influent average XI conc = 51.2 g COD/m3 | Influent average XI conc = 51.2 g COD/m3
Influent average XS conc = 202.32 g COD/m3 | Influent average XS conc = 202.32 g COD/m3
Influent average XBH conc = 28.17 g COD/m3 | Influent average XBH conc = 28.17 g COD/m3
Influent average XBA1 conc = 0 g COD/m3 | Influent average XBA1 conc = 0 g COD/m3
Influent average XP conc = 0 g COD/m3 | Influent average XP conc = 0 g COD/m3
Influent average SO conc = 0 g (-COD)/m3 | Influent average SO conc = 0 g (-COD)/m3
Influent average SNO3 conc = 0 g N/m3 | Influent average SNO3 conc = 0 g N/m3
Influent average SNH conc = 31.56 g N/m3 (limit = 4 g N/m3) | Influent average SNH conc = 31.56 g N/m3 (limit = 4 g N/m3)
Influent average SND conc = 6.95 g N/m3 | Influent average SND conc = 6.95 g N/m3
Influent average XND conc = 10.59 g N/m3 | Influent average XND conc = 10.59 g N/m3
Influent average SALK conc = 7 mol HCO3/m3 | Influent average SALK conc = 7 mol HCO3/m3
Influent average TSS conc = 211.26 g SS/m3 (limit = 30 g SS/m3) | Influent average TSS conc = 211.26 g SS/m3 (limit = 30 g SS/m3)
Influent average Temperature = 15 degC | Influent average Temperature = 15 degC
Influent average SNO2 conc = 0 g N/m3 | Influent average SNO2 conc = 0 g N/m3
Influent average SNO conc = 0 g N/m3 | Influent average SNO conc = 0 g N/m3
Influent average SN2O conc = 0 g N/m3 | Influent average SN2O conc = 0 g N/m3
Influent average SN2 conc = 13.3171 g N/m3 | Influent average SN2 conc = 13.3171 g N/m3
Influent average XBA2 conc = 0 g COD/m3 | Influent average XBA2 conc = 0 g COD/m3
Influent average Kjeldahl N conc = 54.5946 g N/m3 | Influent average Kjeldahl N conc = 54.5946 g N/m3
Influent average total N conc = 54.5946 g N/m3 (limit = 18 g N/m3) | Influent average total N conc = 54.5946 g N/m3 (limit = 18 g N/m3)
Influent average total COD conc = 381.19 g COD/m3 (limit = 100 g COD/m3) | Influent average total COD conc = 381.19 g COD/m3 (limit = 100 g COD/m3)
Influent average BOD5 conc = 193.5287 g/m3 (limit = 10 g/m3) | Influent average BOD5 conc = 193.5287 g/m3 (limit = 10 g/m3)
Influent average load | Influent average load
--------------------- | ---------------------
Influent average SI load = 553.38 kg COD/day | Influent average SI load = 553.38 kg COD/day
Influent average SS load = 1281.997 kg COD/day | Influent average SS load = 1281.997 kg COD/day
Influent average XI load = 944.4352 kg COD/day | Influent average XI load = 944.4352 kg COD/day
Influent average XS load = 3731.9947 kg COD/day | Influent average XS load = 3731.9947 kg COD/day
Influent average XBH load = 519.6238 kg COD/day | Influent average XBH load = 519.6238 kg COD/day
Influent average XBA1 load = 0 kg COD/day | Influent average XBA1 load = 0 kg COD/day
Influent average XP load = 0 kg COD/day | Influent average XP load = 0 kg COD/day
Influent average SO load = 0 kg (-COD)/day | Influent average SO load = 0 kg (-COD)/day
Influent average SNO3 load = 0 kg N/day | Influent average SNO3 load = 0 kg N/day
Influent average SNH load = 582.1558 kg N/day | Influent average SNH load = 582.1558 kg N/day
Influent average SND load = 128.1997 kg N/day | Influent average SND load = 128.1997 kg N/day
Influent average XND load = 195.3431 kg N/day | Influent average XND load = 195.3431 kg N/day
Influent average SALK load = 129.122 kmol HCO3/day | Influent average SALK load = 129.122 kmol HCO3/day
Influent average TSS load = 3896.902 kg SS/day | Influent average TSS load = 3896.902 kg SS/day
Influent average SNO2 load = 0 kg N/day | Influent average SNO2 load = 0 kg N/day
Influent average SNO load = 0 kg N/day | Influent average SNO load = 0 kg N/day
Influent average SNO load = 0 kg N/day | Influent average SNO load = 0 kg N/day
Influent average SN2O load = 245.6467 kg N/day | Influent average SN2O load = 245.6467 kg N/day
Influent average SN2 load = 0 kg COD/day | Influent average SN2 load = 0 kg COD/day
Influent average Kjeldahl N load = 1007.0524 kg N/d | Influent average Kjeldahl N load = 1007.0524 kg N/d
Influent average total N load = 1007.0524 kg N/d | Influent average total N load = 1007.0524 kg N/d
Influent average total COD load = 7031.4307 kg COD/d | Influent average total COD load = 7031.4307 kg COD/d
Influent average BOD5 load = 3569.8297 kg BOD5/d | Influent average BOD5 load = 3569.8297 kg BOD5/d
Effluent average concentrations based on load | Effluent average concentrations based on load
--------------------------------------------- | ---------------------------------------------
Effluent average flow rate = 18061 m3/d | Effluent average flow rate = 18061 m3/d
Effluent average SI conc = 30 g COD/m3 | Effluent average SI conc = 30 g COD/m3
Effluent average SS conc = 1.2815 g COD/m3 | Effluent average SS conc = 1.2941 g COD/m3
Effluent average XI conc = 3.7646 g COD/m3 | Effluent average XI conc = 3.8831 g COD/m3
Effluent average XS conc = 0.22738 g COD/m3 | Effluent average XS conc = 0.22937 g COD/m3
Effluent average XBH conc = 9.5139 g COD/m3 | Effluent average XBH conc = 9.4994 g COD/m3
Effluent average XBA1 conc = 0.43794 g COD/m3 | Effluent average XBA1 conc = 0.43648 g COD/m3
Effluent average XP conc = 1.373 g COD/m3 | Effluent average XP conc = 1.2885 g COD/m3
Effluent average SO conc = 4.2634 g (-COD)/m3 | Effluent average SO conc = 4.2882 g (-COD)/m3
Effluent average SNO3 conc = 1.6593 g N/m3 | Effluent average SNO3 conc = 1.1566 g N/m3
Effluent average SNH conc = 1.2048 g N/m3 (limit = 4 g N/m3) | Effluent average SNH conc = 1.2083 g N/m3 (limit = 4 g N/m3)
Effluent average SND conc = 0.5967 g N/m3 | Effluent average SND conc = 0.6008 g N/m3
Effluent average XND conc = 0.016743 g N/m3 | Effluent average XND conc = 0.016877 g N/m3
Effluent average SALK conc = 4.2702 mol HCO3/m3 | Effluent average SALK conc = 4.2825 mol HCO3/m3
Effluent average TSS conc = 11.5006 g SS/m3 (limit = 30 g SS/m3) | Effluent average TSS conc = 11.512 g SS/m3 (limit = 30 g SS/m3)
Effluent average Temperature = 15 degC | Effluent average Temperature = 15 degC
Effluent average SNO2 conc = 6.1752 g N/m3 | Effluent average SNO2 conc = 6.5092 g N/m3
Effluent average SNO conc = 0.036721 g N/m3 | Effluent average SNO conc = 0.036895 g N/m3
Effluent average SN2O conc = 0.013849 g N/m3 | Effluent average SN2O conc = 0.013914 g N/m3
Effluent average SN2 conc = 13.4171 g N/m3 | Effluent average SN2 conc = 13.4176 g N/m3
Effluent average XBA2 conc = 0.017343 g COD/m3 | Effluent average XBA2 conc = 0.012591 g COD/m3
Effluent average Kjeldahl N conc = 2.9839 g N/m3 | Effluent average Kjeldahl N conc = 2.9918 g N/m3
Effluent average total N conc = 10.869 g N/m3 (limit = 18 g N/m3) | Effluent average total N conc = 10.7085 g N/m3 (limit = 18 g N/m3)
Effluent average total COD conc = 46.6156 g COD/m3 (limit = 100 g COD/m3) | Effluent average total COD conc = 46.6435 g COD/m3 (limit = 100 g COD/m3)
Effluent average BOD5 conc = 2.9859 g/m3 (limit = 10 g/m3) | Effluent average BOD5 conc = 2.9654 g/m3 (limit = 10 g/m3)
Effluent average load | Effluent average load
--------------------- | ---------------------
Effluent average SI load = 541.8299 kg COD/day | Effluent average SI load = 541.8299 kg COD/day
Effluent average SS load = 23.1454 kg COD/day | Effluent average SS load = 23.3736 kg COD/day
Effluent average XI load = 67.992 kg COD/day | Effluent average XI load = 70.1331 kg COD/day
Effluent average XS load = 4.1068 kg COD/day | Effluent average XS load = 4.1427 kg COD/day
Effluent average XBH load = 171.8308 kg COD/day | Effluent average XBH load = 171.5679 kg COD/day
Effluent average XBA1 load = 7.9096 kg COD/day | Effluent average XBA1 load = 7.8832 kg COD/day
Effluent average XP load = 24.7975 kg COD/day | Effluent average XP load = 23.2708 kg COD/day
Effluent average SO load = 77.0018 kg (-COD)/day | Effluent average SO load = 77.45 kg (-COD)/day
Effluent average SNO3 load = 29.9688 kg N/day | Effluent average SNO3 load = 20.8893 kg N/day
Effluent average SNH load = 21.7599 kg N/day | Effluent average SNH load = 21.8233 kg N/day
Effluent average SND load = 10.7771 kg N/day | Effluent average SND load = 10.851 kg N/day
Effluent average XND load = 0.3024 kg N/day | Effluent average XND load = 0.30482 kg N/day
Effluent average SALK load = 77.1238 kmol HCO3/day | Effluent average SALK load = 77.346 kmol HCO3/day
Effluent average TSS load = 207.7124 kg SS/day | Effluent average TSS load = 207.9189 kg SS/day
Effluent average SNO2 load = 111.5306 kg N/day | Effluent average SNO2 load = 117.5628 kg N/day
Effluent average SNO load = 0.66323 kg N/day | Effluent average SNO load = 0.66637 kg N/day
Effluent average SNO load = 0.25012 kg N/day | Effluent average SNO load = 0.2513 kg N/day
Effluent average SN2O load = 242.3257 kg N/day | Effluent average SN2O load = 242.3358 kg N/day
Effluent average SN2 load = 0.31323 kg COD/day | Effluent average SN2 load = 0.2274 kg COD/day
Effluent average Kjeldahl N load = 53.8914 kg N/d | Effluent average Kjeldahl N load = 54.0358 kg N/d
Effluent average total N load = 196.3041 kg N/d | Effluent average total N load = 193.4056 kg N/d
Effluent average total COD load = 841.9252 kg COD/d | Effluent average total COD load = 842.4287 kg COD/d
Effluent average BOD5 load = 48.2254 kg BOD5/d | Effluent average BOD5 load = 48.2051 kg BOD5/d
Sludge for disposal average concentrations based on load | Sludge for disposal average concentrations based on load
-------------------------------------------------------- | --------------------------------------------------------
Sludge for disposal average flow rate = 385 m3/d | Sludge for disposal average flow rate = 385 m3/d
Sludge for disposal average SI conc = 30 g COD/m3 | Sludge for disposal average SI conc = 30 g COD/m3
Sludge for disposal average SS conc = 1.2819 g COD/m3 | Sludge for disposal average SS conc = 1.2945 g COD/m3
Sludge for disposal average XI conc = 1721.169 g COD/m3 | Sludge for disposal average XI conc = 1777.4015 g COD/m3
Sludge for disposal average XS conc = 103.7624 g COD/m3 | Sludge for disposal average XS conc = 104.8467 g COD/m3
Sludge for disposal average XBH conc = 4344.8247 g COD/m3 | Sludge for disposal average XBH conc = 4344.9564 g COD/m3
Sludge for disposal average XBA1 conc = 200.2123 g COD/m3 | Sludge for disposal average XBA1 conc = 199.8395 g COD/m3
Sludge for disposal average XP conc = 627.291 g COD/m3 | Sludge for disposal average XP conc = 589.9071 g COD/m3
Sludge for disposal average SO conc = 4.2635 g (-COD)/m3 | Sludge for disposal average SO conc = 4.2882 g (-COD)/m3
Sludge for disposal average SNO3 conc = 1.6518 g N/m3 | Sludge for disposal average SNO3 conc = 1.1516 g N/m3
Sludge for disposal average SNH conc = 1.2089 g N/m3 | Sludge for disposal average SNH conc = 1.2124 g N/m3
Sludge for disposal average SND conc = 0.59685 g N/m3 | Sludge for disposal average SND conc = 0.60093 g N/m3
Sludge for disposal average XND conc = 7.6416 g N/m3 | Sludge for disposal average XND conc = 7.7155 g N/m3
Sludge for disposal average SALK conc = 4.2707 mol HCO3/m3 | Sludge for disposal average SALK conc = 4.2829 mol HCO3/m3
Sludge for disposal average TSS conc = 5253.9314 g SS/m3 | Sludge for disposal average TSS conc = 5267.0638 g SS/m3
Sludge for disposal average Temperature = 15 degC | Sludge for disposal average Temperature = 15 degC
Sludge for disposal average SNO2 conc = 6.1801 g N/m3 | Sludge for disposal average SNO2 conc = 6.5124 g N/m3
Sludge for disposal average SNO conc = 0.036724 g N/m3 | Sludge for disposal average SNO conc = 0.036896 g N/m3
Sludge for disposal average SN2O conc = 0.013847 g N/m3 | Sludge for disposal average SN2O conc = 0.013912 g N/m3
Sludge for disposal average SN2 conc = 13.4171 g N/m3 | Sludge for disposal average SN2 conc = 13.4176 g N/m3
Sludge for disposal average XBA2 conc = 7.9825 g COD/m3 | Sludge for disposal average XBA2 conc = 5.8006 g COD/m3
Sludge for disposal average Kjeldahl N conc = 542.3936 g N/m3 | Sludge for disposal average Kjeldahl N conc = 543.2667 g N/m3
Sludge for disposal average total N conc = 550.276 g N/m3 | Sludge for disposal average total N conc = 550.9815 g N/m3
Sludge for disposal average total COD conc = 7036.5239 g COD/m3 | Sludge for disposal average total COD conc = 7054.0463 g COD/m3
Sludge for disposal average BOD5 conc = 1073.4556 g BOD5/m3 | Sludge for disposal average BOD5 conc = 1073.1725 g BOD5/m3
Sludge for disposal average load | Sludge for disposal average load
-------------------------------- | --------------------------------
Sludge for disposal average SI load = 11.55 kg COD/day | Sludge for disposal average SI load = 11.55 kg COD/day
Sludge for disposal average SS load = 0.49355 kg COD/day | Sludge for disposal average SS load = 0.4984 kg COD/day
Sludge for disposal average XI load = 662.6501 kg COD/day | Sludge for disposal average XI load = 684.2996 kg COD/day
Sludge for disposal average XS load = 39.9485 kg COD/day | Sludge for disposal average XS load = 40.366 kg COD/day
Sludge for disposal average XBH load = 1672.7575 kg COD/day | Sludge for disposal average XBH load = 1672.8082 kg COD/day
Sludge for disposal average XBA load = 77.0817 kg COD/day | Sludge for disposal average XBA load = 76.9382 kg COD/day
Sludge for disposal average XP load = 241.507 kg COD/day | Sludge for disposal average XP load = 227.1142 kg COD/day
Sludge for disposal average SO load = 1.6415 kg (-COD)/day | Sludge for disposal average SO load = 1.651 kg (-COD)/day
Sludge for disposal average SNO3 load = 0.63595 kg N/day | Sludge for disposal average SNO3 load = 0.44336 kg N/day
Sludge for disposal average SNH load = 0.46542 kg N/day | Sludge for disposal average SNH load = 0.46679 kg N/day
Sludge for disposal average SND load = 0.22979 kg N/day | Sludge for disposal average SND load = 0.23136 kg N/day
Sludge for disposal average XND load = 2.942 kg N/day | Sludge for disposal average XND load = 2.9705 kg N/day
Sludge for disposal average SALK load = 1.6442 kmol HCO3/day | Sludge for disposal average SALK load = 1.6489 kmol HCO3/day
Sludge for disposal average TSS load = 2022.7636 kg SS/day | Sludge for disposal average TSS load = 2027.8196 kg SS/day
Sludge for disposal average SNO2 load = 2.3793 kg N/day | Sludge for disposal average SNO2 load = 2.5073 kg N/day
Sludge for disposal average SNO load = 0.014139 kg N/day | Sludge for disposal average SNO load = 0.014205 kg N/day
Sludge for disposal average SN2O load = 0.0053312 kg N/day | Sludge for disposal average SN2O load = 0.0053563 kg N/day
Sludge for disposal average SN2 load = 5.1656 kg N/day | Sludge for disposal average SN2 load = 5.1658 kg N/day
Sludge for disposal average XBA2 load = 3.0732 kg N/day | Sludge for disposal average XBA2 load = 2.2332 kg N/day
Sludge for disposal average Kjeldahl N load = 208.6371 kg N/d | Sludge for disposal average Kjeldahl N load = 209.0237 kg N/d
Sludge for disposal average total N load = 211.6719 kg N/d | Sludge for disposal average total N load = 211.9939 kg N/d
Sludge for disposal average total COD load = 2709.0617 kg COD/d | Sludge for disposal average total COD load = 2715.8078 kg COD/d
Sludge for disposal average BOD5 load = 413.2804 kg BOD5/d | Sludge for disposal average BOD5 load = 413.1714 kg BOD5/d
Other effluent quality variables | Other effluent quality variables
-------------------------------- | --------------------------------
Influent Quality Index (IQI) = 52176.4648 kg poll.units/d | Influent Quality Index (IQI) = 52176.4648 kg poll.units/d
Effluent Quality Index (EQI) = 4405.2684 kg poll.units/d | Effluent Quality Index (EQI) = 4379.5665 kg poll.units/d
Sludge production for disposal = 14983.0486 kg SS | Sludge production for disposal = 14482.8831 kg SS
Average sludge production for disposal per day = 2022.7636 kg SS/d | Average sludge production for disposal per day = 2027.8196 kg SS/d
Sludge production released into effluent = 1538.5709 kg SS | Sludge production released into effluent = 1484.9767 kg SS
Average sludge production released into effluent per day = 207.7124 kg SS/d | Average sludge production released into effluent per day = 207.9189 kg SS/d
Total sludge production = 16521.6194 kg SS | Total sludge production = 15967.8598 kg SS
Total average sludge production per day = 2230.476 kg SS/d | Total average sludge production per day = 2235.7384 kg SS/d
Average aeration energy = 4283.3778 kWh/d | Average aeration energy = 4283.3778 kWh/d
Average pumping energy = 388.17 kWh/d | Average pumping energy = 388.17 kWh/d
Average carbon source addition = 0 kg COD/d | Average carbon source addition = 0 kg COD/d
Average mixing energy = 174.91 kWh/d | Average mixing energy = 189.6677 kWh/d
Operational Cost Index | Operational Cost Index
---------------------- | ----------------------
Sludge production cost index = 6068.2908 | Sludge production cost index = 6083.4587
Aeration energy cost index = 4283.3778 | Aeration energy cost index = 4283.3778
Pumping energy cost index = 388.17 | Pumping energy cost index = 388.17
Carbon source dosage cost index = 0 | Carbon source dosage cost index = 0
Mixing energy cost index = 174.91 | Mixing energy cost index = 189.6677
Total Operational Cost Index (OCI) = 10914.7486 | Total Operational Cost Index (OCI) = 10944.6742
N2O Emissions | N2O Emissions
------------------- | -------------------
N2O emission during nitrification/denitrification (ANOX1) = 0.039299 kg N2O/d | N2O emission during nitrification/denitrification (ANOX1) = 0.039527 kg N2O/d
N2O emission during nitrification/denitrification (ANOX2) = 0.027929 kg N2O/d | N2O emission during nitrification/denitrification (ANOX2) = 0.027869 kg N2O/d
N2O emission during nitrification/denitrification (AER1) = 5.4298 kg N2O/d | N2O emission during nitrification/denitrification (AER1) = 5.444 kg N2O/d
N2O emission during nitrification/denitrification (AER2) = 4.9538 kg N2O/d | N2O emission during nitrification/denitrification (AER2) = 4.9726 kg N2O/d
N2O emission during nitrification/denitrification (AER3) = 4.0503 kg N2O/d | N2O emission during nitrification/denitrification (AER3) = 4.0701 kg N2O/d
N2O emission during nitrification/denitrification (total) = 14.5011 kg N2O/d | N2O emission during nitrification/denitrification (total) = 14.5541 kg N2O/d
Effluent violations | Effluent violations
------------------- | -------------------
***** Plant evaluation of BSM2 system successfully finished ***** | ***** Plant evaluation of BSM2 system successfully finished *****
End time (hour:min:sec) = 16 9 8 | End time (hour:min:sec) = 17 37 27

## Sheet3
D_O2 = | = mxGetPr(PAR)[6];
F_BOD_COD | = mxGetPr(PAR)[7];
f_P | = mxGetPr(PAR)[8];
F_TSS_COD | = mxGetPr(PAR)[9];
H_N2 | = mxGetPr(PAR)[10];
H_N2O | = mxGetPr(PAR)[11];
H_NO | = mxGetPr(PAR)[12];
i_X_B | = mxGetPr(PAR)[13];
i_X_P | = mxGetPr(PAR)[14];
k_a | =mxGetPr(PAR)[15];
K_FA | =mxGetPr(PAR)[16];
K_FNA | = mxGetPr(PAR)[17];
k_h | = mxGetPr(PAR)[18];
K_I10FA | = mxGetPr(PAR)[19];
K_I10FNA | = mxGetPr(PAR)[20];
K_I3NO | = mxGetPr(PAR)[21];
K_I4NO | = mxGetPr(PAR)[22];
K_I5NO | = mxGetPr(PAR)[23];
K_I9FA | = mxGetPr(PAR)[24];
K_I9FNA | = mxGetPr(PAR)[25];
K_N2O | = mxGetPr(PAR)[26];
K_NO | = mxGetPr(PAR)[27];
K_NO2 | = mxGetPr(PAR)[28];
K_NO3 | = mxGetPr(PAR)[29];
K_OA1 | = mxGetPr(PAR)[30];
K_OA2 | = mxGetPr(PAR)[31];
K_OH | = mxGetPr(PAR)[32];
K_OH1 | = mxGetPr(PAR)[33];
K_OH2 | = mxGetPr(PAR)[34];
K_OH3 | = mxGetPr(PAR)[35];
K_OH4 | = mxGetPr(PAR)[36];
K_OH5 | = mxGetPr(PAR)[37];
K_S1 | = mxGetPr(PAR)[38];
K_S2 | = mxGetPr(PAR)[39];
K_S3 | = mxGetPr(PAR)[40];
K_S4 | = mxGetPr(PAR)[41];
K_S5 | = mxGetPr(PAR)[42];
K_X | = mxGetPr(PAR)[43];
n_g2 | = mxGetPr(PAR)[44];
n_g3 | = mxGetPr(PAR)[45];
n_g4 | = mxGetPr(PAR)[46];
n_g5 | = mxGetPr(PAR)[47];
n_h | = mxGetPr(PAR)[48];
n_Y | = mxGetPr(PAR)[49];
pH = | =mxGetPr(PAR)[50];
P_N2O_air | = mxGetPr(PAR)[51];
P_N2_air | = mxGetPr(PAR)[52];
P_NO_air | = mxGetPr(PAR)[53];
Y_A1 | = mxGetPr(PAR)[54];
Y_A2 | = mxGetPr(PAR)[55];
Y_H | = mxGetPr(PAR)[56];
X_I2TSS | = mxGetPr(PAR)[57];
X_S2TSS | = mxGetPr(PAR)[58];
X_BH2TSS | = mxGetPr(PAR)[59];
X_BA2TSS | = mxGetPr(PAR)[60];
X_P2TSS | = mxGetPr(PAR)[61];
b_Ratkowsky_mu_A1= | mxGetPr(PAR)[62];
b_Ratkowsky_mu_A2= | mxGetPr(PAR)[63];
b_Ratkowsky_mu_H= | mxGetPr(PAR)[64];
c_Ratkowsky_mu_A1= | mxGetPr(PAR)[65];
c_Ratkowsky_mu_A2= | mxGetPr(PAR)[66];
c_Ratkowsky_mu_H= | mxGetPr(PAR)[67];
Temp_Ref | = mxGetPr(PAR)[68];
theta_b_A1 | = mxGetPr(PAR)[69];
theta_b_A2 | = mxGetPr(PAR)[70];
theta_b_H | = mxGetPr(PAR)[71];
theta_kla | = mxGetPr(PAR)[72];
theta_k_a | = mxGetPr(PAR)[73];
theta_k_h | = mxGetPr(PAR)[74];
Tmax_Ratkowsky_mu_A1 | = mxGetPr(PAR)[75];
Tmax_Ratkowsky_mu_A2 | = mxGetPr(PAR)[76];
Tmax_Ratkowsky_mu_H | = mxGetPr(PAR)[77];
Tmin_Ratkowsky_mu_A1 | = mxGetPr(PAR)[78];
Tmin_Ratkowsky_mu_A2 | = mxGetPr(PAR)[79];
Tmin_Ratkowsky_mu_H | = mxGetPr(PAR)[80];
K_SNH_aob1 | = mxGetPr(PAR)[81];
K_SNH_aob2 | = mxGetPr(PAR)[82];
K_SNO2_aob | = mxGetPr(PAR)[83];
K_SNO_aob | = mxGetPr(PAR)[84];
K_SO_aob1 | = mxGetPr(PAR)[85];
K_SO_aob2 | = mxGetPr(PAR)[86];
K_SO_AOBden1 | = mxGetPr(PAR)[87];
K_IO_AOBden1 | = mxGetPr(PAR)[88];
K_SO_AOBden2 | = mxGetPr(PAR)[89];
K_IO_AOBden2 | = mxGetPr(PAR)[90];
n_AOB | = mxGetPr(PAR)[91];
n_Y_AOB | = mxGetPr(PAR)[92];
K_FNA_aob | = mxGetPr(PAR)[93];
K_FA_aob | = mxGetPr(PAR)[94];